April 1, 2010

Rob Kerth

Iceland Ice-Skating Rink

1430 Del Paso

Sacramento, CA 95815

Reference:	Structural Stability of Existing Monument Sign

1430 Del Paso, Sacramento, CA 95815

Dear Mr. Kerth:

This office has preformed a site visit and visual inspection of the fire damaged building at the above referenced address. The sign does not show any signs of fire damage. The sign connections to the concrete wall show no sign of fire damage. Since the original condition of the sign is unchanged by the recent building fire it is easily concluded that the sign is safe in it’s original condition.  No additional reinforcing is required.

Additionally, the sign wind load transferred to the now un-braced poured in place concrete wall is not significant and the wall is adequate to support the sign in it’s now altered state.

Please contact this office with any questions.

Sincerely,

Jim Ewertsen

President